Report

Of

Topic

Solar Fleet Intelligence: ML-Based Inverter Efficiency Prediction and Anomaly Detection

Submitted

To

School of Computer Science and Engineering

IILM University, Greater Noida, U.P.

In partial fulfilment of the requirement of degree of

B.Tech CSE

By

Roll Number of Student: 2410031177

Name of Student: KANISHKA NANDINI

Batch: 2024-2028

2026-27

CANDIDATE’S DECLARATION

I, Kanishka Nandini do hereby declare that the internship report titled “Solar Fleet Intelligence: ML-Based Inverter Efficiency Prediction and Anomaly Detection"” has been completed by me to fulfil the requirement for the award of the degree of Bachelor of Technology in CSE. All the references have been quoted and I have not taken as such any material from any other source. I affirm to you that this report is my own and has not been submitted to any other institute for any degree/diploma requirement and further I shall be solely responsible for any kind of copyright violation in this regard.

Signature

Student Name: Kanishka nandini

Roll No.2410031177

ACKNOWLEDGEMENT

I am using this opportunity to express my gratitude to everyone who supported me throughout my internship at Tata Power Renewable Energy Limited. I am sincerely thankful to my reporting guide, Mr. Paresh Onsker (Group Head, Infra & Support), for his invaluable guidance, constructive feedback, and constant encouragement during the project. I also extend my gratitude to the entire TPREL team for providing a supportive environment to learn and build.

I am grateful to IILM University, Greater Noida, and the School of Computer Science and Engineering for their academic foundation and continuous support throughout the programme. I express my heartfelt gratitude to my parents for their blessings and constant motivation.

Signature: ___________________

Student Name: KANISHKA NANDINI

Roll No.: 2410031177

| Chapter No. | Chapter Name | Page Nos. |
| --- | --- | --- |
|  | Cover Page | ---- |
| 1. | Candidate’s Declaration |  |
| 2. | Acknowledgment |  |
| 3. | Internship Completion Certificate |  |
| 4. | Project Description 4 .1 Introduction 4.2 Organization Profile 4.3 Problem Statement 4.4 Project Objectives 4.5 Scope of the Project 4.6 Technologies and Tools Used 4.7 System Architecture 4.8 Methodology 4.9 Expected Outcomes 4.10 Certificates of completion and other communication mail proof must be attached |  |
| 5. | Bibliography/References |  |

4.1 Introduction

Solar energy has emerged as one of the most reliable and rapidly growing sources of renewable power in India. Solar photovoltaic (PV) plants convert sunlight into electricity, and the inverter is the critical component that converts Direct Current (DC) generated by solar panels into Alternating Current (AC) usable by the grid. The efficiency of an inverter directly determines how much energy is delivered to the grid — and therefore, how much revenue the plant generates.

In real-world solar operations, inverter efficiency is not constant. It is influenced by several factors: ambient temperature, load conditions, irradiance, weather patterns, soiling (dust accumulation on panels), and long-term aging of components. Even a small drop in efficiency — say 3–5% — can translate into lakhs of rupees in annual revenue loss for a solar plant operator. Detecting such losses early and understanding why they occur is therefore critical for plant performance and profitability.

This project, titled "Solar Fleet Intelligence: ML-Based Inverter Efficiency Prediction and Anomaly Detection", was undertaken during my internship at Tata Power Renewable Energy Limited (TPREL). The objective was to design and build a machine learning system that:

- Predicts inverter efficiency from physical and operational parameters

- Detects anomalous inverters within a fleet that deviate from expected behaviour

- Quantifies the financial impact of efficiency loss in Indian Rupees (₹)

- Provides explainable insights (via SHAP) so maintenance teams can act on findings

The system was developed using Python, with XGBoost as the core predictive model, Isolation Forest for anomaly detection, and FastAPI + Gradio for deployment. The final pipeline achieves an R² of 0.90 on test data and successfully flagged 3 out of 10 inverters as anomalous — aligning with expected real-world maintenance scenarios.

4.2 Organization Profile

Tata Power Renewable Energy Limited (TPREL) is a subsidiary of The Tata Power Company Limited, one of India's largest integrated power companies and part of the iconic Tata Group. TPREL is a leading player in India's renewable energy sector, with a diversified portfolio spanning solar, wind, hybrid, and battery energy storage systems.

TPREL develops, owns, and operates utility-scale renewable projects across India, and also provides rooftop solar solutions for residential, commercial, and industrial customers. As of recent years, the company has crossed multi-gigawatt renewable capacity and continues to expand aggressively in line with India's ambitious clean energy targets.

Key facts:

| Detail | Information |
| --- | --- |
| Parent Company | The Tata Power Company Limited |
| Headquarters | Mumbai, Maharashtra, India |
| Sector | Renewable Energy (Solar, Wind, Hybrid, BESS) |
| Core Business | Utility-scale + Rooftop Solar, Wind, Energy Storage |
| Internship Location | Shatabdi Bhawan, B-12 & 13, Sector 4, Noida, UP – 201301 |
| Reporting Guide | Mr. Paresh Onsker — Group Head, Infra & Support |
| Internship Duration | 1 Month (September 02, 2026 – October 01, 2026) |

TPREL's operations rely heavily on data-driven monitoring and analytics to ensure optimal plant performance. Inverter health, plant availability, and generation efficiency are tracked continuously across thousands of assets. This makes machine learning a natural fit for improving operational efficiency and reducing downtime costs.

During my internship, I worked with the Infra & Support team under Mr. Paresh Onsker, focusing on applying Python-based machine learning techniques to solar inverter performance analysis.

4.3 Problem Statement

Solar power plants consist of hundreds or thousands of inverters operating simultaneously. Each inverter converts DC power from solar panels into AC power fed to the grid. Over time, inverter efficiency degrades due to a combination of environmental, operational, and mechanical factors — high ambient temperature, soiling, aging components, sensor faults, and load mismatches.

The core problem is that efficiency loss is invisible until it becomes financially significant. Traditional monitoring systems raise alarms only when an inverter fails completely or drops below a hard threshold — by which point, weeks or months of revenue loss have already occurred. Moreover, when efficiency does drop, it is difficult to determine which specific factor is responsible — is it the heat? Is it dust? Is it an aging component? Without this insight, maintenance teams cannot prioritize corrective action.

For a fleet of inverters, the problem compounds:

- Which inverters are underperforming?

- By how much, in measurable terms (₹)?

- Why are they underperforming?

- Which corrective action gives the best ROI?

These are the exact questions that Tata Power's O&M (Operations & Maintenance) teams face daily. Manual analysis does not scale — there are simply too many inverters, too many variables, and too much data.

This project addresses the problem by building a machine learning system that:

- Predicts expected inverter efficiency from operating conditions using an XGBoost regression model

- Flags inverters whose actual efficiency deviates significantly from predicted — using Isolation Forest on model residuals

- Quantifies the financial impact of efficiency loss per inverter, in ₹ per year

- Explains the top drivers of efficiency using SHAP values, so maintenance teams know why

- Delivers findings through a REST API and interactive dashboard for non-technical stakeholders

4.4 Project Objectives

The primary objective of this internship project was to design and implement a machine learning system that assists Tata Power Renewable Energy Limited in monitoring and improving solar inverter performance. The specific objectives were:

- Develop a predictive model for inverter efficiency using XGBoost regression, taking physical and operational features as input — including temperature, irradiance, DC power, load ratio, seasonality, and aging.

- Achieve a credible accuracy benchmark on unseen test data, targeting an R² of ≥ 0.85 with 5-fold cross-validation to ensure the model generalizes well and is not overfit.

- Build a fleet-level anomaly detection system using Isolation Forest on model residuals, to automatically flag inverters that deviate from expected behaviour — enabling proactive maintenance.

- Quantify the financial impact of efficiency loss per inverter and across the fleet, expressed in Indian Rupees (₹), to support ROI-driven maintenance decisions.

- Provide model explainability using SHAP (SHapley Additive exPlanations) values, so the top drivers of efficiency loss can be identified and communicated to non-technical stakeholders.

- Deploy the system as a production-ready REST API using FastAPI, with clearly defined endpoints for prediction, fleet health, and cost analysis.

- Build an interactive dashboard using Gradio, enabling non-technical users (managers, O&M staff) to interact with the model without writing code.

- Document the entire pipeline — from data generation to deployment — ensuring reproducibility and providing a clear path for real-world SCADA integration.

Together, these objectives aim to demonstrate how machine learning can convert raw solar plant data into actionable operational intelligence that directly impacts revenue and maintenance efficiency.

4.5 Scope of the Project

This project covers the complete machine learning lifecycle for solar inverter efficiency analysis — from data generation and feature engineering to model training, evaluation, deployment, and reporting. The scope was defined to deliver a production-oriented proof-of-concept within a one-month internship duration.

In-Scope:

- Synthetic data generation based on IEC 61724 standards and real inverter datasheet parameters (temperature coefficient -0.35%/°C, soiling model, monsoon adjustments)

- Simulation of a fleet of 10 solar inverters over one full year (47,450 hourly records)

- Feature engineering including rolling averages, lag features, physics-based interactions, and time-based features

- Regression modeling using XGBoost and LightGBM for efficiency prediction

- 5-fold cross-validation and stratified train-test split for credible performance evaluation

- SHAP-based explainability to identify top drivers of efficiency

- Isolation Forest–based anomaly detection to flag underperforming inverters

- Cost impact analysis in ₹, per inverter and annualized

- REST API using FastAPI with endpoints for prediction, fleet health, and cost impact

- Interactive Gradio dashboard with three tabs (Predict, Fleet Health, Cost Impact)

- Complete documentation including README, setup instructions, and data notes

Out-of-Scope:

- Real SCADA data integration — not possible within the internship duration due to data confidentiality and NDA constraints at Tata Power

- Real-time streaming pipeline — this project works on batch CSV data; streaming (Kafka/MQTT) is out of scope

- Live weather API integration — not included; seasonal patterns are simulated in the dataset

- Multi-plant geographic analysis — only a single simulated plant with 10 inverters is considered

- Mobile application — only web-based dashboard (Gradio) is delivered

- Automated alerting (email/Slack) — noted as a future enhancement but not implemented in this version

- Production-grade model retraining pipeline — drift detection and automated retraining are documented as future scope

Assumptions:

- The synthetic dataset accurately reflects real-world solar inverter behaviour at a physics level

- The simulation captures key loss mechanisms: temperature, soiling, aging, load mismatch

- Historical patterns (seasonal, monsoon) are representative of Indian solar plants

- Real-world integration will require only a CSV path swap — the pipeline is designed to be swap-ready

Limitations:

- The model's R² of 0.90 is on synthetic data — real-world performance may be slightly lower (expected 0.85–0.90)

- Anomaly detection thresholds are based on synthetic fault patterns; tuning may be required for real fleet data

- Cost impact calculations use an assumed tariff of ₹8/kWh; actual tariffs vary by PPA

This scope was agreed upon with my reporting guide Mr. Paresh Onsker to ensure deliverable value within the internship period.

4.6 Technologies and Tools Used

This project was developed using a modern Python-based machine learning stack, chosen for its reliability, community support, and production readiness. Each tool was selected based on the specific requirement it fulfils within the pipeline.

| Category | Tool / Library | Purpose |
| --- | --- | --- |
| Programming Language | Python 3.14 | Core development language |
| Data Manipulation | Pandas | Data loading, cleaning, transformation |
| Numerical Computing | NumPy | Vectorized operations, synthetic data generation |
| Machine Learning | Scikit-learn | Train-test split, cross-validation, metrics |
| Gradient Boosting | XGBoost | Primary regression model for efficiency prediction |
| Gradient Boosting | LightGBM | Alternative model for comparison |
| Explainability | SHAP | Model interpretation and feature importance |
| Anomaly Detection | Isolation Forest (Scikit-learn) | Fleet health monitoring on residuals |
| Visualization | Matplotlib | SHAP plots, feature importance charts |
| Model Persistence | Joblib | Saving and loading trained models |
| Backend API | FastAPI | REST API for model serving |
| API Server | Uvicorn | ASGI server for FastAPI |
| Frontend / Dashboard | Gradio | Interactive web UI for non-technical users |
| Version Control | Git + GitHub | Source code management and collaboration |
| IDE | Notepad / VS Code | Code editing |
| Terminal | Windows Command Prompt / PowerShell | Script execution |
| Documentation | Markdown | README, project documentation |

Why these tools were chosen:

- XGBoost was chosen over traditional linear regression because inverter efficiency has non-linear relationships with temperature and load — gradient boosting handles this naturally.

- LightGBM was included as an independent benchmark; both models achieving the same R² (0.9004) confirmed the signal is real and not model-specific.

- SHAP was selected for explainability because it provides both global and per-prediction insights, which is critical for audit and maintenance decisions.

- Isolation Forest was preferred over threshold-based rules because it adapts to the underlying distribution of residuals without manual tuning.

- FastAPI was chosen over Flask for its native async support, automatic Swagger documentation, and Pydantic-based request validation.

- Gradio was chosen over Streamlit for its zero-config deployment and cleaner UI for non-technical users.

System Environment:

| Item | Specification |
| --- | --- |
| Operating System | Windows 10 / 11 (64-bit) |
| Python Version | 3.14.7 |
| Package Manager | pip 26.2.1 |
| Dataset Size | 47,450 rows × 20 features |
| Model Size | ~1.5 MB (XGBoost) |

4.7 System Architecture

The Solar Fleet Intelligence system follows a layered pipeline architecture, where each stage transforms data and passes it forward. This modular design allows any layer to be replaced or upgraded independently — for example, swapping the synthetic data source with a real SCADA feed without touching the model or API layers.

Architecture Layers:

1. Data Layer

- Synthetic data generator (make_data.py) produces 47,450 hourly records across 10 inverters for one year

- Physics-based simulation using IEC 61724 standards and real inverter datasheet parameters

- Real-world messiness injected: missing values (2% sensor dropout), outliers, per-inverter faults

2. Feature Engineering Layer

- Missing value imputation (forward-fill within each inverter)

- Time-based features: hour, month, monsoon flag, days since commissioning

- Rolling window features: temperature, irradiance, efficiency (3-hour window)

- Lag features: previous hour efficiency and temperature

- Physics interaction features: temperature deviation from 25°C, irradiance-to-temperature ratio, load × temperature

3. Modeling Layer

- Regression: XGBoost Regressor (400 trees, learning rate 0.05, max depth 6)

- Validation: 5-fold cross-validation + 80/20 stratified train-test split

- Anomaly Detection: Isolation Forest on prediction residuals (contamination = 2%)

- Explainability: SHAP TreeExplainer for feature importance

4. Business Logic Layer

- Cost Impact Module: Calculates ₹ loss per inverter, annualized, using tariff (₹8/kWh) and nominal efficiency (95%)

- Fleet Health Module: Aggregates anomaly rates per inverter, ranks underperformers

5. Serving Layer

- FastAPI Backend: REST API with 4 endpoints (/, /predict, /fleet-health, /cost-impact), Swagger UI auto-generated

- Gradio Dashboard: 3-tab interactive UI (Predict, Fleet Health, Cost Impact)

6. Storage Layer

- Trained model artifacts stored as .pkl files via Joblib

- Processed CSVs stored in data/ folder (gitignored for GitHub)

- Model metrics stored separately for versioning

Data Flow:

text

Raw Simulation

↓

Data Cleaning + Missing Value Handling

↓

Feature Engineering (14 features)

↓

Train/Test Split (stratified by month)

↓

XGBoost Training ← 5-fold CV

↓

Predictions → Residuals

↓

Isolation Forest → Anomaly Flags

↓

Cost Impact Aggregation → ₹ Loss per Inverter

↓

FastAPI + Gradio → End Users (Managers, O&M Staff)

Design Principles:

- Modularity: Each layer is independently replaceable

- Reproducibility: Fixed random seeds, deterministic pipeline

- Explainability: SHAP integrated into the pipeline, not an afterthought

- Production-readiness: REST API + validation + Swagger docs

- Swap-ready: Synthetic data can be replaced with real SCADA CSV without code changes

This architecture ensures the system is auditable, scalable, and maintainable — the three pillars of production ML at Tata Power's scale.

📊 Architecture Diagram (Word me banana hai)

Option 1: Simple box diagram (Word me)

Insert → Shapes → Rectangles + arrows:

text

┌──────────────┐

│  Data Layer  │

└──────┬───────┘

↓

┌──────────────────────┐

│ Feature Engineering  │

└──────┬───────────────┘

↓

┌──────────────────┐

│  XGBoost Model   │

└──────┬───────────┘

↓

┌──────────────────────┐

│  Anomaly Detection   │

└──────┬───────────────┘

↓

┌──────────────────────┐

│  Cost Impact + API   │

4.8 Methodology

The project followed a structured, iterative machine learning methodology divided into six phases. Each phase built on the previous one, with continuous validation before moving forward.

Phase 1: Data Generation

Since real inverter SCADA data at Tata Power is confidential and NDA-protected, a physics-based synthetic dataset was generated. The simulation used:

- IEC 61724 standards for PV system monitoring

- Real inverter datasheet parameters — temperature coefficient of -0.35%/°C, efficiency range 0.85–0.98

- Seasonal patterns including Indian summer peaks (March–May) and monsoon lows (July–September)

- Per-inverter variations — 7 healthy inverters, 3 deliberately faulty (soiling, aging, sensor fault)

The result: 47,450 hourly records across 10 inverters over one full year. Real-world messiness was injected — 2% missing values, sensor spikes, and gradual aging.

Phase 2: Feature Engineering

Raw data was transformed into 14 model-ready features:

- Time-based: hour, month, is_monsoon, days_since_start

- Physics-based: temperature, temp_deviation (from 25°C STC), irradiance, irr_per_temp, load_ratio, load_x_temp

- Rolling features: temp_roll3, irr_roll3 (3-hour moving average)

- Lag features: eff_lag1 (previous hour efficiency)

Missing values were handled using forward-fill within each inverter group, simulating how real SCADA systems interpolate sensor dropouts.

Phase 3: Model Training

Two gradient boosting models were trained:

- XGBoost (primary)

- LightGBM (benchmark comparison)

Data was split 80/20 stratified by month to ensure every season appears in both train and test sets. 5-fold cross-validation was performed on the training set to verify generalization.

Hyperparameters:

- n_estimators = 400

- learning_rate = 0.05

- max_depth = 6

- random_state = 42 (for reproducibility)

Phase 4: Explainability

SHAP (SHapley Additive exPlanations) was applied using the TreeExplainer. This produced:

- Global feature importance — top drivers of efficiency

- Per-feature impact direction — does high temperature increase or decrease efficiency?

- Beeswarm plots — showing distribution of impact across samples

Phase 5: Anomaly Detection

Isolation Forest was applied on model residuals (actual − predicted efficiency) plus key features (temperature, load, days since start). Contamination was set to 2%, based on the expectation that ~2% of readings are truly anomalous.

Phase 6: Cost Impact Analysis

A business-logic module converted efficiency loss into ₹ using:

- Tariff assumption: ₹8/kWh (representative of commercial solar PPA)

- Nominal efficiency: 95% (target for a healthy inverter)

- Per-inverter aggregation: total energy loss × tariff = revenue loss

- Annualization: scaling by 365/days_observed

Phase 7: Deployment

The trained model was deployed via:

- FastAPI backend with 4 REST endpoints + Swagger UI

- Gradio dashboard with 3 interactive tabs

- Joblib persistence for model and feature name storage

Validation Strategy:

| Stage | Method | Purpose |
| --- | --- | --- |
| Data | Statistical summary + missing value check | Ensure data integrity |
| Features | Correlation analysis + SHAP preview | Remove leakage, keep signal |
| Model | 5-fold CV + holdout test | Verify generalization |
| Anomaly | Comparison with injected faults | Validate detection logic |
| Business | Manual spot-check of ₹ loss values | Ensure cost logic is sound |

This methodology ensures the pipeline is repeatable, auditable, and production-ready — while honestly documenting limitations (synthetic data) and providing a clear path to real-world deployment.

4.9 Expected Outcomes

The project was designed to deliver both technical outputs and business outcomes. The results achieved matched the objectives set at the start of the internship.

Technical Outcomes:

| Metric | Target | Achieved |
| --- | --- | --- |
| Test R² | ≥ 0.85 | 0.9004 ✅ |
| Test MAE | ≤ 0.02 | 0.0083 ✅ |
| 5-Fold CV R² | Stable across folds | 0.9058 ± 0.0014 ✅ |
| Model Training Time | < 60 seconds | ~15 seconds ✅ |
| API Response Time | < 200 ms | ~50 ms ✅ |

Business Outcomes:

The system delivers three direct business values for Tata Power's O&M teams:

1. Fleet Health Monitoring

- Isolation Forest flagged 3 out of 10 inverters as anomalous with rates between 2.15% and 3.54% — versus a fleet baseline of ~1.5%

- These match the injected fault patterns (soiling, aging, sensor fault), validating the detection logic

- Business value: Proactive maintenance instead of reactive

2. Cost Impact Quantification

| Inverter | Fault Type | Annual Loss (₹) |
| --- | --- | --- |
| INV-003 | Soiling | ₹1,54,927 |
| INV-009 | Sensor Fault | ₹81,222 |
| INV-007 | Aging | ₹77,188 |
| Other 7 (healthy) | Normal | ~₹34,500 each |
| Fleet Total | — | ₹5,55,289 |

Business value: Top 3 faulty inverters account for ₹3.13 Lakh of ₹5.55 Lakh total loss (56%) — meaning maintenance teams can recover the majority of losses by fixing just 3 units.

3. Explainability for Decision Support

SHAP analysis revealed the top drivers of efficiency:

- Previous-hour efficiency (temporal continuity)

- Temperature (physical driver #1)

- Rolling temperature trend

- Irradiance-to-temperature ratio

- Temperature deviation from 25°C

Business value: Temperature being the #1 physical driver justifies cooling system investment and panel ventilation upgrades at plants with efficiency issues.

Delivered Artifacts:

- ✅ Complete ML pipeline (data → features → model → deploy)

- ✅ XGBoost model with R² = 0.90

- ✅ FastAPI backend with 4 endpoints + Swagger docs

- ✅ Gradio dashboard with 3 interactive tabs

- ✅ Cost impact report per inverter

- ✅ Fleet health monitoring system

- ✅ SHAP explainability plots

- ✅ Professional GitHub repository with README

P

4.10 Certificates of Completion and Communication Proof

The following documents are attached as evidence of internship completion and project communication:

- Internship Offer Letter — Issued by Tata Power Renewable Energy Limited (TPREL), dated September 02, 2026

- Internship Completion Certificate — To be issued by TPREL on submission of this report

- Email Communication Proof — Correspondence with reporting guide Mr. Paresh Onsker regarding project scope and progress

- GitHub Repository — https://github.com/kanishkanandinii/2024-2028_Kanishka_Nandini_2410031177_3CSE7_5th_Semester

[Note: Physical copies / scanned PDFs of certificates and email